## PCSD
Site ID | Location (Room#, Hallway, etc.) | Outlet Type (Sink/Fountain, etc.) | Usage (Drinking/Cooking/Handwashing) | Placard or Lead Test | Last test date
PCSD1 | Family Bath by 92 | Bathroom Sink | Handwashing | Placard
PCSD2 | Gym Concession Stand | Sink | Cooking | Lead Test | 2024-06-05
PCSD3 | By Boiler Room | Fountain | Drinking | Lead Test | 2024-09-25
PCSD4 | Gym cons. sprayer | Sink/Sprayer Combo | Drinking | Lead Test | 2025-01-17
PCSD5 | Boys Bath by 92 | Bathroom Sink | Handwashing | Placard
PCSD6 | Boys Bath by 92 | Bathroom Sink | Handwashing | Placard
PCSD7 | Boys Bath by 92 | Bathroom Sink | Handwashing | Placard
PCSD8 | Girls Bath by 92 | Bathroom Sink | Handwashing | Placard
PCSD9 | Girls Bath by 92 | Bathroom Sink | Handwashing | Placard
PCSD10 | Girls Bath by 92 | Bathroom Sink | Handwashing | Placard
PCSD11 | Receiving Area | Sink | Non-Potable | Placard
PCSD12 | 93 | Sink | Potable | Lead Test | 2025-04-04
PCSD13 | 94 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD14 | Boys Coach Office | Shower | Non-Potable | Placard
PCSD15 | Boys Coach Office | Sink | Non-Potable | Placard
PCSD16 | Boys Locker Rm | Bathroom Sink | Potable | Lead Test | 2025-04-04
PCSD17 | Boys Locker Rm | Bathroom Sink | Potable | Lead Test | 2025-04-04
PCSD18 | Hallway by 93 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD19 | Hallway by 93 | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD20 | Girls Locker Rm | Bathroom Sink | Potable | Lead Test | 2025-04-04
PCSD21 | Girls Locker Rm | Bathroom Sink | Potable | Lead Test | 2025-04-04
PCSD22 | By Girls Locker Rm | Fountain | Drinking | Lead Test | 2024-06-05
PCSD23 | By Girls Locker Rm | Fountain | Drinking | Lead Test | 2024-06-05
PCSD24 | By Girls Locker Rm | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD25 | Girls Coach Office | Shower | Non-Potable | Placard
PCSD26 | Girls Coach Office | Sink | Non-Potable | Placard
PCSD27 | Girls Bath by 64 | Bathroom Sink | Handwashing | Placard
PCSD28 | Girls Bath by 64 | Bathroom Sink | Handwashing | Placard
PCSD29 | Boys Bath by 64 | Bathroom Sink | Handwashing | Placard
PCSD30 | Boys Bath by 64 | Bathroom Sink | Handwashing | Placard
PCSD31 | 63 | Sink | Potable | Lead Test | 2024-06-05
PCSD32 | 62 | Sink | Non-Potable | Lead Test | 2025-01-17
PCSD33 | 62 | Bathroom Sink | Handwashing | Placard
PCSD34 | By Room 90 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD35 | By Room 90 | Fountain/Bottle Filler | Drinking | Lead Test | 2025-01-17
PCSD36 | Custodial | Sink | Non-Potable | Placard
PCSD37 | 67 | Sink | Potable | Lead Test | 2024-06-05
PCSD38 | 67 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD39 | 90 | Sink | Potable | Lead Test
PCSD40 | 68 | Sink | Potable | Lead Test | 2024-06-05
PCSD41 | 68 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD42
PCSD43 | 69 | Sink | Potable | Lead Test | 2024-06-05
PCSD44 | 69 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD45
PCSD46 | 70 | Sink | Potable | Lead Test | 2024-06-05
PCSD47 | 70 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD48
PCSD49 | 71 | Sink | Potable | Lead Test | 2024-06-05
PCSD50 | 71 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD51
PCSD52 | 72 | Sink | Potable | Lead Test | 2024-06-05
PCSD53 | 72 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD54
PCSD55 | 73 | Sink | Potable | Lead Test | 2024-06-05
PCSD56 | 73 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD57
PCSD58
PCSD59 | 74 | Sink | Potable | Lead Test | 2024-06-05
PCSD60 | 74 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD61
PCSD62 | 75 | Sink | Potable | Lead Test | 2024-06-05
PCSD63 | 75 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD64
PCSD65 | 76 | Sink | Potable | Lead Test | 2024-06-05
PCSD66 | 76 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD67
PCSD68 | 77 | Sink | Potable | Lead Test | 2024-06-05
PCSD69 | 77 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD70
PCSD71 | 78 | Sink | Potable | Lead Test | 2024-08-17
PCSD72
PCSD73
PCSD74 | 79 | Sink | Potable | Lead Test | 2024-06-05
PCSD75 | 79 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD76
PCSD77 | 80 | Sink | Potable | Lead Test | 2024-06-05
PCSD78 | 80 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD79
PCSD80 | 81 | Sink | Potable | Lead Test | 2024-06-05
PCSD81 | 81 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD82
PCSD83 | 82 | Sink | Potable | Lead Test | 2024-06-05
PCSD84 | 82 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD85
PCSD86 | Bathroom by 66 | Sink | Handwashing | Placard
PCSD87 | Bathroom in 66 | Sink | Handwashing | Placard
PCSD88
PCSD89
PCSD90 | Elem. Library | Sink | Non-Potable | Placard
PCSD91 | Elem. Gym | Sink | Non-Potable | Placard
PCSD92 | Elem. Gym | Sink | Non-Potable | Placard
PCSD93 | Elem. Gym | Fountain | Drinking | Lead Test | 2024-06-05
PCSD94 | Elem. Gym | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD95 | 82 Boys Bath | Bathroom Sink | Handwashing | Placard
PCSD96 | 82 Girls Bath | Bathroom Sink | Handwashing | Placard
PCSD97 | Custodial by 83 | Sink | Non-Potable | Placard
PCSD98 | 84 | Sink | Potable | Lead Test | 2025-04-04
PCSD99 | 87 | Sink | Potable | Lead Test | 2025-04-04
PCSD100 | 85 | Sink | Potable | Lead Test | 2025-04-04
PCSD101 | 86 | Sink | Potable | Lead Test | 2025-04-04
PCSD102 | Nurse Office | Sink | Potable | Lead Test | 2024-06-05
PCSD103 | Nurse Office Exam 1 | Sink | Potable | Lead Test | 2025-04-04
PCSD104 | Nurse Office Exam 2 | Sink | Potable | Lead Test | 2025-04-04
PCSD105 | Nurse Office Bath | Bathroom Sink | Handwashing | Placard
PCSD106 | 60 | Sink | Potable | Lead Test | 2025-04-04
PCSD107 | 60 | Sink | Potable | Lead Test | 2025-04-04
PCSD108 | 60 | Sink | Potable | Lead Test | 2025-04-04
PCSD109 | 60 Bath | Bathroom Sink | Handwashing | Placard
PCSD110 | 61 | Sink | Non-Potable | Lead Test | 2024-06-05
PCSD111 | 61 Bath | Bathroom Sink | Handwashing | Placard
PCSD112 | Café | Fountain | Drinking | Lead Test | 2024-06-05
PCSD113 | Café | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD114 | Café | Sink | Potable | Lead Test | 2024-06-05
PCSD115 | Café | Sink | Potable | Lead Test | 2024-06-05
PCSD116 | Café | Sink | Potable | Lead Test | 2024-06-05
PCSD117 | Café | Sink | Potable | Lead Test | 2024-06-05
PCSD118 | Café | Sink | Potable | Lead Test | 2024-06-05
PCSD119 | Café | Sink | Potable | Lead Test | 2024-06-05
PCSD120 | Kitchen | Sink | Cooking | Lead Test | 2024-06-05
PCSD121 | Kitchen | Sink | Cooking | Lead Test | 2024-06-05
PCSD122 | Kitchen | Sink | Cooking | Lead Test | 2024-06-05
PCSD123 | Kitchen | Steamer | Cooking | Lead Test | 2024-06-05
PCSD124 | Kitchen | Potfiller | Cooking | Lead Test | 2025-01-17
PCSD125 | Kitchen | Sink | Cooking | Lead Test | 2024-06-05
PCSD126 | Kitchen | Sink | Cooking | Lead Test | 2024-06-05
PCSD127 | Kitchen Storage | Ice Machine | Potable | Lead Test | 2024-06-05
PCSD128 | Kitchen | Dishwahser Sink | Non-Potable | Placard
PCSD129 | Hallway By Café | Fountain | Drinking | Lead Test | 2024-06-05
PCSD130 | Hallway By Café | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD131 | Janitor A by Gym | Sink | Non-Potable | Placard
PCSD132 | Adult Bath by Office | Bathroom Sink | Handwashing | Placard
PCSD133 | Custodial closet | Sink | Non-Potable | Placard
PCSD134 | Guidance Hall | Fountain | Drinking | Lead Test | 2024-06-05
PCSD135 | Guidance Hall | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD136 | Boys Bath by Guidance | Bathroom Sink | Handwashing | Placard
PCSD137 | Boys Bath by Guidance | Bathroom Sink | Handwashing | Placard
PCSD138 | Girls Bath by Guidance | Bathroom Sink | Handwashing | Placard
PCSD139 | Girls Bath by Guidance | Bathroom Sink | Handwashing | Placard
PCSD140 | Across from 56 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD141 | Across from 56 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD142 | Across from 56 | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD143 | 56 | Sink | Potable | Lead Test | 2025-04-04
PCSD144 | 55 | Sink | Potable | Lead Test | 2025-04-04
PCSD145 | 54 | Sink | Potable | Lead Test | 2025-04-04
PCSD146 | Girls Bath by 12 | Bathroom Sink | Handwashing | Placard
PCSD147 | Girls Bath by 12 | Bathroom Sink | Handwashing | Placard
PCSD148 | Custodial | Sink | Non-Potable | Placard
PCSD149 | Boys Bath by 12 | Bathroom Sink | Handwashing | Placard
PCSD150 | Boys Bath by 12 | Bathroom Sink | Handwashing | Placard
PCSD151 | Hall by 12 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD152 | Hall by 12 | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD153 | 9 Bathroom | Bathroom Sink | Handwashing | Placard
PCSD154 | 8 Pantry | Sink | Potable | Lead Test | 2024-06-05
PCSD155 | Adult Bath by 8 | Bathroom Sink | Handwashing | Placard
PCSD156 | Hall by 4 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD157 | 2 | Sink | Potable | Lead Test
PCSD158 | Bathroom by 3 | Bathroom Sink | Handwashing | Placard
PCSD159 | 2 | Sink | Potable | Lead Test | 2025-04-04
PCSD160 | 2 | Sink | Potable | Lead Test | 2025-04-04
PCSD161 | 2 | Sink | Potable | Lead Test | 2025-04-04
PCSD162 | 2 | Sink | Potable | Lead Test | 2025-04-04
PCSD163 | Main Office hall bath | Bathroom Sink | Handwashing | Placard
PCSD164 | Hall by 49 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD165 | Hall by 49 | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD166 | 44 | Sink | Potable | Lead Test | 2025-04-04
PCSD167 | 44 | Sink | Potable | Lead Test | 2025-04-04
PCSD168 | 44 | Sink | Potable | Lead Test | 2025-04-04
PCSD169 | 44 | Sink | Potable | Lead Test | 2025-04-04
PCSD170 | Fountain by 42 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD171 | Fountain by 42 | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD172 | Staff Bath 40 A | Sink | Handwashing | Placard
PCSD173 | 3 | Sink | Potable | Lead Test | 2025-04-04
PCSD174 | Boys Bath by 40 | Bathroom Sink | Handwashing | Placard
PCSD175
PCSD176 | 40 Senior Lounge | Sink | Potable | Lead Test | 2024-06-05
PCSD177 | Girls Bath by 39 | Bathroom Sink | Handwashing | Placard
PCSD178 | 51 | Eyewash Station | Non-Potable | Placard
PCSD179 | 52 | Eyewash Station | Non-Potable | Placard
PCSD180 | 53 | Eyewash Station | Non-Potable | Placard
PCSD181 | Bathroom across rm 38 | Bathroom Sink | Handwashing | Placard
PCSD182 | Custodial | Sink | Non-Potable | Placard
PCSD183 | Hall by 38 | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD184 | 51 | Sink | Non-Potable | Placard
PCSD185 | 51 | Sink | Non-Potable | Placard
PCSD186 | 51 | Sink | Non-Potable | Placard
PCSD187 | 51 | Sink | Non-Potable | Placard
PCSD188 | 51 | Sink | Non-Potable | Placard
PCSD189 | 51 | Sink | Non-Potable | Placard
PCSD190 | 51 | Sink | Non-Potable | Placard
PCSD191 | 51 | Sink | Non-Potable | Placard
PCSD192 | 52 | Sink | Non-Potable | Placard
PCSD193 | 52 | Sink | Non-Potable | Placard
PCSD194 | 52 | Sink | Non-Potable | Placard
PCSD195 | 52 | Sink | Non-Potable | Placard
PCSD196 | 53 | Sink | Non-Potable | Placard
PCSD197 | 53 | Sink | Non-Potable | Placard
PCSD198 | 53 | Sink | Non-Potable | Placard
PCSD199 | 53 | Sink | Non-Potable | Placard
PCSD200 | 53 | Sink | Non-Potable | Placard
PCSD201 | 53 | Sink | Non-Potable | Placard
PCSD202 | Hall by 51-53 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD203 | Hall by 51-53 | Fountain | Drinking | Lead Test | 2024-06-05
PCSD204 | Basement Storage | Urnal | Non-Potable | Placard
PCSD205 | Basement Storage | Sink | Handwashing | Placard
PCSD206 | Basement Laundry | Sink | Handwashing | Placard
PCSD207 | Basement | Raw Water Main | Potable | Lead Test | 2024-06-05
PCSD208 | Café right DF | Fountain | Drinking | Lead Test | 2024-06-05
PCSD209 | Café right BF | Fountain/Bottle Filler | Drinking | Lead Test | 2024-06-05
PCSD210 | Garage Train Rm. | Sink | Potable | Lead Test | 2024-06-05
PCSD211 | Bus garage Main | Raw Water Main | Potable | Lead Test | 2024-06-05
PCSD212 | 33 | Bathroom Sink | Handwashing | Placard
PCSD213 | Boys Locker Rm | Shower | Non-Potable | Placard
PCSD214 | Boys Locker Rm | Shower | Non-Potable | Placard
PCSD215 | Boys Locker Rm | Shower | Non-Potable | Placard
PCSD216 | Boys Locker Rm | Shower | Non-Potable | Placard
PCSD217 | Girls Locker Rm | Shower | Non-Potable | Placard
PCSD218 | Girls Locker Rm | Shower | Non-Potable | Placard
PCSD219 | Girls Locker Rm | Shower | Non-Potable | Placard
PCSD220 | Girls Locker Rm | Shower | Non-Potable | Placard
PCSD221 | Girls Bath by 64 | Shower | Non-Potable | Placard
PCSD222 | Boys Bath by 64 | Shower | Non-Potable | Placard
| Lead Test Required | Placard for Non-Potable | Total Outlets
Totals | 116 | 86 | 202

## NP outlets
Outlets Designated Non-Applicable (Not Used for Cooking or Drinking)
DISTRICT: PCSD SCHOOL: Main Building
Outlet Location (or ID) | Outlet Type | Remedial Actions to Prevent Use as Cooking or Drinking
(Please check all that apply)
|  | Permanent Removal | Signage | Supervision | Continuing Education | Engineering Controls | Notes/Comments
PCSD1 | Bathroom Sink
PCSD5 | Bathroom Sink
PCSD6 | Bathroom Sink
PCSD7 | Bathroom Sink
PCSD8 | Bathroom Sink
PCSD9 | Bathroom Sink
PCSD10 | Bathroom Sink
PCSD11 | Sink
PCSD15 | Sink
PCSD26 | Sink
PCSD27 | Bathroom Sink
PCSD28 | Bathroom Sink
PCSD29 | Bathroom Sink
PCSD30 | Bathroom Sink
PCSD32 | Sink
PCSD33 | Bathroom Sink
PCSD36 | Sink
PCSD48 | Bathroom Sink
PCSD51 | Bathroom Sink
PCSD86 | Bathroom Sink
PCSD87 | Bathroom Sink
PCSD90 | Bathroom Sink
PCSD91 | Bathroom Sink
PCSD92 | Sink
PCSD95 | Bathroom Sink
PCSD96 | Bathroom Sink
PCSD97 | Sink
PCSD105 | Bathroom Sink
PCSD109 | Bathroom Sink
PCSD111 | Bathroom Sink
PCSD128 | Dishwahser Sink
PCSD131 | Sink
PCSD132 | Bathroom Sink
PCSD133 | Sink
PCSD136 | Bathroom Sink
PCSD137 | Bathroom Sink
PCSD138 | Bathroom Sink
PCSD139 | Bathroom Sink
PCSD146 | Bathroom Sink
PCSD147 | Bathroom Sink
PCSD148 | Sink
PCSD149 | Bathroom Sink
PCSD150 | Bathroom Sink
PCSD153 | Bathroom Sink
PCSD155 | Bathroom Sink
PCSD158 | Bathroom Sink
PCSD163 | Bathroom Sink
PCSD172 | Sink
PCSD174 | Bathroom Sink
PCSD175 | Bathroom Sink
PCSD177 | Bathroom Sink
PCSD178 | Bathroom Sink
PCSD181 | Bathroom Sink
PCSD182 | Sink
PCSD184 | Sink
PCSD185 | Sink
PCSD186 | Sink
PCSD187 | Sink
PCSD188 | Sink
PCSD189 | Sink
PCSD190 | Sink
PCSD191 | Sink
PCSD192 | Sink
PCSD193 | Sink
PCSD194 | Sink
PCSD195 | Sink
PCSD196 | Sink
PCSD197 | Sink
PCSD198 | Sink
PCSD199 | Sink
PCSD200 | Sink
PCSD201 | Sink
PCSD204 | Urnal
PCSD205 | Sink
PCSD206 | Sink

## Remediation
Outlets that Exceeded the Lead Action Level and the Remedial Actions that were/are Implemented (5 micrograms per liter or parts per billion)
DISTRICT: PCSD SCHOOL: Main Building
Laboratory ID | Outlet Location (or Sample ID) | Outlet Type | Sample Results |  | Remedial Actions (Please check all that apply)
|  |  | Initial (ppb) | Post Remediation | Outlet or Plumbing Replacement | Permanent Removal | Filter Installed and Maintained | Signage | Supervision | Continuing Education | Flushing | Engineering Controls | Notes/Comments | Action Date
70300607002 | PCSD3 | Fountain | 5.1 | 12.8 | [8 empty] | Order filter and Install | 2024-06-18
70300607063 | PCSD71 | Sink | 5.2 | 1.1 | [8 empty] | Order filter and Install | 2024-06-18
70300607049 | PCSD124 | Potfiller | 16.2 | 6.7 | [8 empty] | Order filter and Install | 2024-06-18
70300607082 | PCSD207 | Raw Water Main | 13 | N/A | [8 empty] | Water Main no retest | 2024-06-18
70309620001 | PCSD3 | Fountain | 12.8 | 4.5 | [8 empty] | Flush with new filter | 2024-08-21
70309620002 | PCSD71 | Sink | 1.1 | N/A | [8 empty] | No Remediation Needed | 2024-08-21
70309620003 | PCSD124 | Potfiller | 6.7 | 15.6 | [8 empty] | Flush with new filter | 2024-08-21
70314946001 | PCSD3 | Fountain | 4.5 | N/A | [8 empty] | No Remediation Needed | 2024-10-08
70314946002 | PCSD124 | Potfiller | 15.6 | 10.5 | [8 empty] | Dissassemble and clean | 2024-10-08
70328121001 | PCSD124 | Potfiller | 10.5 | 6.3 | [8 empty] | Move filter | 2024-12-23
70333674004 | PCSD124 | Potfiller | 6.3 | 6.4 | [8 empty] | dissassemble and cleaned with CLR + new supply lines installed | 2025-01-24
70340071001 | PCSD124 | Potfiller | 6.4 | <1.0 | [8 empty] | New fixture installed | 2025-03-04
70333674004 | PCSD124 | Potfiller | <1.0 | N/A | [8 empty] | Remediation complete | 2025-04-04
70347346001 | PCSD12 | Sink | 6.5 | [9 empty] | Order filter and Install | 2025-04-04
70347346002 | PCSD16 | Bathroom Sink | 8.6 | [9 empty] | Flushing/signage/Cont.ed | 2025-04-04
70347346003 | PSCD17 | Bathroom Sink | 14.4 | [9 empty] | Flushing/signage/Cont.ed | 2025-04-04
70347346004 | PCSD207 | Bathroom Sink | 6.8 | [9 empty] | Flushing/signage/Cont.ed | 2025-04-04
70347346007 | PCSD98 | Sink | 43.6 | [9 empty] | Order filter and Install | 2025-04-04
70347346008 | PCSD99 | Sink | 8.3 | [9 empty] | Order filter and Install | 2025-04-04
70347346009 | PCSD100 | Sink | 10.6 | [9 empty] | Order filter and Install | 2025-04-04
70347346010 | PCSD101 | Sink | 6 | [9 empty] | Order filter and Install | 2025-04-04
70347346020 | PCSD157 | Sink | 31.8 | [9 empty] | Order filter and Install | 2025-04-04
70347346021 | PCSD159 | Sink | 33 | [9 empty] | Order filter and Install | 2025-04-04
70347346022 | PCSD160 | Sink | 38.2 | [9 empty] | Order filter and Install | 2025-04-04
70347346023 | PCSD161 | Sink | 33.8 | [9 empty] | Order filter and Install | 2025-04-04
70347346025 | PCSD166 | Sink | 5.4 | [9 empty] | Order filter and Install | 2025-04-04
70347346027 | PCSD168 | Sink | 15.7 | [9 empty] | Order filter and Install | 2025-04-04

## lists
Drop list information
outlet type | Usage
Sink | Drinking
Fountain | Cooking
Dishwahser Sink | Handwashing
Sink/Foutain Combo | Non-Potable
Sink/Sprayer Combo | Potable
Bathroom Sink
Exam room
Raw Water Main
Fountain/Bottle Filler
Hose Bib
Ice Machine