## Sheet1
Sample Identification # and Location | Analyte | Results | NYSDOH Action Level | Units | ACTION TAKEN
PCSD159, Science Classroom | Lead | 23.4 | 5 | ug/L | Removed from service
PCSD21, Locker Room | Lead | 5.8 | 5 | ug/L | Removed from service
NYSDOH Action Level for Lead In Schools of 5 ppb